## Slide 2: Fault Tolerance and Redundancy
Notes: Fault tolerance is the property that enables a system to continue operating properly in the event of the failure of some of its components

## Slide 3: Fault Tolerance and Redundancy
ISP 1
ISP 2
Link 1
Link 2
Notes: Fault tolerance is the property that enables a system to continue operating properly in the event of the failure of some of its components

## Slide 4: High Availability
How closely does a system achieve 100% uptime
Availability | Downtime (per year) | Downtime (per month) | Downtime (per week) | Downtime (per day)
99.0% (two 9s) | 3.65 days | 7.31 hours | 1.68 hours | 14.4 minutes
99.9% (three 9s) | 8.77 hours | 43.83 minutes | 10.08 minutes | 1.44 minutes
99.99% (four 9s) | 52.6 minutes | 4.38 minutes | 1.01 minutes | 8.64 seconds
99.999% (five 9s) | 5.25 minutes | 26.3 seconds | 6.05 seconds | 864 ms

## Slide 5: RAID 0 - Striping
W1
Virtual Machines
Applications
W3
W2
W4
W5
W7
W6
W8
Disk 1
Disk 2
Performance increase
No fault tolerance
No storage overhead

## Slide 6: RAID 1 - Mirroring
W1
Virtual Machines
Applications
W2
W1
W2
W3
W4
W3
W4
Disk 1
Disk 2
No Performance increase
Fault tolerance
50% storage overhead

## Slide 7: RAID 5 – Striping w/Parity
W1
W3
W2
Parity Bit
Parity Bit
W7
W5
W8
Disk 1
Disk 2
Parity Bit
W4
W6
Parity Bit
Disk 3
Performance increase
Fault tolerance*
50% storage overhead
Notes: If two disks in the array fail, the array is lost

## Slide 8: RAID 10 – RAID 0+1
W1
W3
W2
W4
W5
W7
W6
W8
Disk 1
Disk 2
W1
W3
W5
W7
Disk 3
W2
W4
W6
W8
Disk 4
Strip 1
Stripe 2
Mirrored
(RAID 0)
(RAID 0)
(RAID 1)
Notes: 3- 32 disks

## Slide 9: Storage Area Networks
HBA 1
HBA 2
HBA 3
HBA 4
FC SW 1
FC SW 2
Storage Array
SP 1
SP 2
Notes: File System Permissions
NTFS Permission
Share Permissions

## Slide 10: NIC Teaming
Server
NIC 1
NIC 2
10G
10G
Switch

## Slide 11: Clusters and Load Balancers
Load Balancer
Server Cluster 1
Server Cluster 2
Web Requests
Web Requests
Internet
Notes: File System Permissions
NTFS Permission
Share Permissions

## Slide 12: Power Redundancy
UPS
Dual PSUs
Managed PDU
Generators