## Slide 2: Hot Site
Backup facility
Fully equipped site
  Servers and storage
  Applications
  Network devices
  Telephony systems

## Slide 3: Cold Site
Backup facility
Not equipped
Office space
Notes: Fault tolerance is the property that enables a system to continue operating properly in the event of the failure of some of its components

## Slide 4: Warm Site
Backup facility
Mostly equipped

## Slide 5: Site Considerations
Attributes | Hot site | Warm site | Cold site
Cost | Most expense | Middle ground | Least expensive
Time-to-restore | Minutes - hours | Hours - days | Days - months

## Slide 6: Site Considerations
Location, location, location